Engineering Controls Checklist
Check the appropriate box to indicate your organization’s use of each control.
	Control


	In Use
	Don’t Know

	1. Build overcurrent protection devices (fuses, circuit breakers, relays, GFCIs) into your electrical systems.
	(
	(

	2. Isolate live electrical parts.
	(
	(

	3. Insulate live electrical parts.
	(
	(

	4. Put physical barriers (such as fences and insulators) around energy sources to prevent human contact.
	(
	(

	5. Ground electrical systems and tools.
	(
	(

	6. Bond components to equalize electrical potential.
	(
	(

	7. Use the correct size and type of wiring.
	(
	(

	8. Make sure that the thickness of an extension cord is at least as thick as the cord for the electrical tool.
	(
	(

	9. Use switches with approved voltage and amperage.
	(
	(

	10. De-energize the electrical system prior to doing electrical work.
	(
	(

	11. Use lockout/tagout.
	(
	(

	12. Provide proper equipment for the job.
	(
	(


-continued on next page-

Engineering Controls Checklist—continued

	Control


	In Use
	Don’t Know

	13. Make sure all equipment and extension cords bear the mark of a Nationally Recognized Testing Laboratory.
	(
	(

	14. Keep equipment up-to-date and in good working condition.
	(
	(

	15. Provide adequate illumination where electrical work is being done.
	(
	(

	16. Use insulated mats/barrier devices.
	(
	(

	17. Use non-conductive tools whenever possible.
	(
	(

	18. Provide only non-conductive ladders and scaffolds.
	(
	(

	19. Install toe boards or use nets on work platforms so tools don’t accidentally fall into the electrical system.
	(
	(

	20. Use GFCI when there is moisture.
	(
	(


Note:  This list is compiled based on the following regulations and standards.
· OSHA 29 CFR 1910, Subpart I and Subpart S
· NFPA 70E

[image: image1.png]


[image: image2.png]


[image: image3.png]


[image: image4.wmf][image: image5.wmf][image: image6.wmf][image: image7.wmf][image: image8.wmf][image: image9.jpg]


[image: image10.jpg]


















