## Slide 1: Hazardous Materials

## Slide 2: Compressed gases
Visually inspect gas cylinders to make sure they are in safe condition
Caps and plugs in place
Damage
labels

## Slide 3
BURN
GOUGE

## Slide 4
GOUGE

## Slide 5
CUT

## Slide 6
Pitting due to corrosion

## Slide 7
Cylinders are manufactured with reasonably symmetrical
shape. Cylinder which have definite bulges shall be removed from service
Bulge

## Slide 8
101(b) "Compressed gases."
The in-plant handling, storage, and utilization of all compressed gases in cylinders, portable tanks, rail tankcars, or motor vehicle cargo tanks shall be in accordance with Compressed Gas Association Pamphlet P-1-1965, which is incorporated by reference as specified in Sec. 1910.6
Unsafe condition

## Slide 9
01(c) "Safety relief devices for compressed gas
Compressed gas cylinders, portable tanks, and cargo tanks shall have pressure relief devices installed and maintained in accordance with Compressed Gas Association Pamphlets S-1.1-1963 and 1965 addenda and S-1.2-1963, which is incorporated by reference as specified in Sec. 1910.6.

## Slide 10
Propane Tank - Relief Valve

## Slide 11
Suitable hand truck

## Slide 12: Storing Cylinders
Local Regs
Posting
Separation (different types)
Separation (charged & empty)
Storage rooms
Highly flammable substances
Avoid dampness
Protection of cylinders
Care of cylinders
Unsafe condition

## Slide 13
Separation of Flammable Gases

## Slide 14
Flammable storage
cabinet
Unsafe condition

## Slide 15
Storage cabinet

## Slide 16
Spring operated
gasoline can

## Slide 17
Not an approved valve

## Slide 18
Not approved butterfly
valve

## Slide 19
Filling container from the top

## Slide 20
Bonding

## Slide 21
MSDS Notebook
Notes: Discuss MSDS. Its purpose and sections of MSDS

## Slide 22
Notes: Expand on proper labeling of containers