## Slide 1: Most Frequently Cited Serious Violations
OSHA Federal Standards
October 1, 2018 – September 30, 2019

## Slide 2: Most Frequently Cited Serious Violations in Construction 2019
Chart: 
| .21(b)(2) | .451(g)(1) | .501(b)(10) | .453(b)(2)(v) | .100(a) | .501(b)(1) | .503(a)(1) | .102(a)(1) | .1053(b)(1) | .501(b)(13) | C | L | M | L | E | M | M | E | X | M
 | 575 | 618 | 631 | 672 | 927 | 1036 | 1346 | 1548 | 1616 | 4270

1926 Overall MFC
Fall Protection – Residential construction
Ladders – Not extended 3 feet above landing
Eye & face Protection – Use of appropriate protection
Fall Protection – Unprotected sides & edges
Fall Protection– Training for those exposed to fall hazards
Head Protection – Use of protection
Aerial Lifts – Fall protection
Scaffolds – Fall protection
General Safety & Health Provision - Inspections by a competent person
Fall Protection – Roofing work on low-sloped roofs
29 CFR 1926 Subparts

## Slide 3: General Safety & Health [1926.20 – .35]
Chart: 
| 28(a) | 25(a) | 20(b)(1) | 20(b)(2) | 21(b)(2)
 | 69 | 108 | 459 | 518 | 575
Housekeeping – Work area shall be kept clean
General Safety & Health Provisions – Initiate & maintain accident prevention programs
General Safety & Health Provision – Inspections by a competent person
SUBPART C
Personal Protective Equipment – Employer responsibility
Safety Training & Education – Recognition & avoidance of unsafe hazards

## Slide 4: Occupational Health & Environmental Controls [1926.50 – .66]
Chart: 
| 62(j)(1)(i) | 59 | 62(l)(1)(i) | 50(g) | 62(d)(1)(i)
 | 12 | 17 | 19 | 21 | 32
Lead – include lead in the Hazardous Communication standard
Medical Service & First Aid – Suitable facilities for quick drenching or flushing of the eyes and body
Hazardous Communication
Lead – Employer make initial medical surveillance to employees
SUBPART D
Lead – Determining exposure at or above action levels

## Slide 5: Personal Protective & Life Saving Equipment [1926.95 – .107]
Chart: 
| 96 | 102(a)(2) | 95(a) | 100(a) | 102(a)(1)
 | 11 | 50 | 84 | 927 | 1548
Eye & Face Protection – Use of appropriate protection
Head Protection – Use of protection
PPE – Provided, used & maintained
SUBPART E
PPE – Employer provides PPE at no cost
Eye & Face Protection – Side protection for eye protection

## Slide 6: Fire Protection & Prevention [1926.150 – .159]
Chart: 
| 150(a)(1) | 150(c)(1)(vi) | 150(c)(1)(viii) | 150(c)(1)(iv) | 150(c)(1)(i)
 | 11 | 12 | 14 | 17 | 28
Fire Protection – 2A Fire extinguisher provided per 3000 sqft of building
Fire Protection – Extinguishers within 50ft of 5 gallons of flammable liquids
Fire Protection – Inspected periodically and maintained
SUBPART F
Fire Protection – Fire extinguisher provided for each floor
Fire Protection – Develop fire protection program

## Slide 7: Signs, Signals & Barricades [1926.200 – .203]
Chart: 
| 200(a) | 200(b)(1) | 201(a) | 200(g)(2) | 200(g)(1)
 | 2 | 3 | 6 | 9 | 13
Accident Prevention Signs – Traffic signs conforming with MUTCD
Accident Prevention Signs – Traffic signs at points of hazard
Signaling – Signaling by Flaggers
SUBPART G
Accident Prevention Signs – Signs shall be visible at all times
Accident Prevention Signs – Danger signs shall be used

## Slide 8: Materials Handling, Storage, Use & Disposal [1926.250 – .252]
Chart: 
| 250(a)(3) | 251(b)(1) | 251(a)(2)(i) | 251(a)(1) | 252(a)
 | 6 | 8 | 16 | 21 | 28
Rigging Equipment – Permanent affixed identification on steel chains
Storage – Aisles & passageways kept clear
Disposal – exterior drop chutes
Rigging Equipment – Inspection & removal from service
Rigging Equipment – Permanently affixed identification
SUBPART H

## Slide 9: Tools: Hand & Power [1926.300 – .307]
Chart: 
Chart: 
| 304(f) | 304(i)(1) | 304(h)(1) | 304(d) | 300(b)(1)
 | 20 | 22 | 27 | 40 | 80
Woodworking Tools – Meet requirements of ANSI 01.1-1961
Woodworking Tools – Guarding of circular crosscut table saw
General Requirements – Tools designed for guards
Woodworking Tools – Guarding of portable circular saws
Woodworking Tools – Circular hand-fed ripsaw shall be guarded by a hood
SUBPART I

## Slide 10: Welding & Cutting [1926.350 -.354]
Chart: 
| 352(c) | 350(a)(1) | 350(a)(10) | 351(b)(4) | 350(a)(9)
 | 4 | 4 | 5 | 8 | 9
Gas Welding – Oxygen cylinders stored separated from fuel-gas cylinders
Gas Welding – Valve protection caps in place & secured
Arc Welding – Cables in need of repair shall not be used
Gas Welding – Cylinder secured upright
Fire Prevention – No welding, cutting, or heating near flammables
SUBPART J

## Slide 11: Electrical [1926.400 – .449]
Chart: 
| 416(e)(1) | 403(b)(2) | 405(g)(2)(iv) | 404(f)(6) | 416(a)(1)
 | 86 | 89 | 95 | 109 | 113
Wiring Methods – Strain relief
General Requirements – Worn & frayed cords and cables
General Requirements – No work near any part of an electrical circuit
Wiring Design – Grounding path
General Requirements – Installation & use
SUBPART K

## Slide 12: Scaffolds [1926.450 – .454]
Chart: 
| 454(a) | 451(b)(1) | 451(e)(1) | 451(g)(1) | 453(b)(2)(v)
 | 282 | 334 | 411 | 618 | 672
General Requirements – All working levels shall be full planked
Training Requirements – Training by a qualified person
Aerial Lifts – Fall protection while in basket
General Requirements – Fall protection above 10 feet
General Requirements – Safe access above 2 feet
SUBPART L

## Slide 13: Fall Protection [1926.500 – .503]
Chart: 
| 501(b)(11) | 501(b)(10) | 501(b)(1) | 503(a)(1) | 501(b)(13)
 | 462 | 631 | 1036 | 1346 | 4270
Fall Protection – Roofing work on low-sloped roofs
Fall Protection – Roofing work on steep roofs
Fall Protection – Residential construction
Training Requirements – Training for those exposed to fall hazards
Fall Protection – Unprotected sides & edges
SUBPART M

## Slide 14: Helicopters, Hoists, Elevators, and Conveyors [1926.550 – .556]
Chart: 
| 552(b)(2) | 552(b)(1)(i) | 552(c)(6) | 552(a)(4) | 552(a)(1)
 | 1 | 1 | 3 | 4 | 17
Hoists & Elevators – Complying with manufacturer’s specifications
Hoists & Elevator – Door or gate provided at entrance
Hoists & Elevators – Operating rules shall be established & posted
SUBPART N
Hoist & Elevators – Hoisting ropes installed in accordance with wire rope manufacturer
Hoists & Elevators – All entrances of the hoistway shall be protected

## Slide 15: Motor Vehicles, Mechanized Equipment, & Marine Operations [1926.600 – .606]
Chart: 
| 601(b)(14) | 602(c)(1)(vii) | 602(c)(1)(ii) | 602(c)(1)(vi) | 602(d)
 | 10 | 16 | 27 | 29 | 57
Material Handling Equipment – Industrial truck operator training
Material Handling Equipment – Modifications that affect capacity rating
Material Handling Equipment – Industrial trucks ANSI B56.1 1969 requirements
Material Handling Equipment – Ride only in safe place
SUBPART O
Motor Vehicles – Inspection of vehicles

## Slide 16: Excavations [1926.650 – .652]
Chart: 
| 651(k)(2) | 651(k)(1) | 651(j)(2) | 651(c)(2) | 652(a)(1)
 | 61 | 173 | 194 | 253 | 529
Excavation Requirements - Employee removal from trench by competent person
Excavation Requirements – Daily inspections by competent person
Excavation Requirements – Protection of employees from materials
Excavation Requirements – Means of egress
Protective Systems – Cave-in protection
SUBPART P

## Slide 17: Concrete & Masonry Construction [1926.700 – .706]
Chart: 
| 706(b) | 702(h) | 703(a)(2) | 703(a)(1) | 701(b)
 | 2 | 2 | 3 | 6 | 111
General Requirements – Reinforcing steel guarded
Cast-in-Place – Formwork designed to support loads
Masonry – Masonry walls over 8 feet shall be braced
Cast-in-Place – Drawing or plans available at the jobsite
Equipment & Tools – Bull floats
SUBPART Q

## Slide 18: Steel Erection [1926.750 – .761]
Chart: 
| 760(c)(3) | 760(b)(1) | 754(a) | 761(b) | 760(a)(1)
 | 4 | 4 | 5 | 35 | 119
Fall Protection – CDZ shall be designed and clearly marked
Fall Protection – Protected from fall hazards 2 stories or 30 feet
Fall Protection – Protection from fall hazards
Training – Fall hazard training
Structural Steel Assembly – Stability shall be maintained at all times
SUBPART R

## Slide 19: Underground Construction, Caissons, Cofferdams, and Compressed Air [1926.800 – .804]
Chart: 
| 800(j)(1)(iii)(A) | 800(j)(1)(ii)(A) | 800(k)(1)(i) | 800(g)(5)(ii) | 800(d)
 | 3 | 3 | 4 | 4 | 4
Underground Construction – Employees instructed on hazards
Underground Construction – Atmosphere in all underground work areas shall be tested for oxygen
Underground Construction – Fresh air shall be supplied to all underground work
SUBPART S
Underground Construction – Provide rescue for more than 25 employees
Underground Construction – Atmosphere in all underground work areas shall be tested for other gases

## Slide 20: Demolition [1926.850 – .860]
Chart: 
| 850(e) | 850(c) | 859(g) | 850(b) | 850(a)
 | 4 | 4 | 7 | 7 | 45
Preparatory Operations – Bracing for floors or walls damaged
Mechanical Demolition – Inspection by a competent person
Preparatory Operations - Engineering survey
Preparatory Operations – Determine any type of Hazardous chemicals
Preparatory Operations – Utilities shut off or capped
SUBPART T

## Slide 21: Blasting and the use of Explosives [1926.900 – .914]
Chart: 
| 901(e) | 900(h) | 905(h)
 | 1 | 1 | 2
Blaster Qualifications – Shall be knowledgeable & competent
General Provisions – Special precautions shall be taken when blasting in congested areas
Loading of Explosives – Equipment shall not be operated within 50 feet
SUBPART U
Notes: No citations for FY18

## Slide 22: Power Transmission and Distribution [1926.950 – .968]
Chart: 
| 950(b)(1)(i) | 961(c)(2) | 960(c)(1)(iii)(A) | 960(c)(1)(iii) | 950(d)
 | 1 | 2 | 2 | 2 | 2
SUBPART V
Working On or Near Exposed Energized Parts – No employee approaches or takes conductive object
General – Existing characteristics & conditions
General – Employee training
Working on or Near Exposed Energized Parts – Employee is insulated from energized part
Deenergizing lines & Equipment for Employee Protection – Open disconnecting means

## Slide 23
Chart: 
| 1000(b)
 | 2
Scope – Equipment manufactured before July 15, 2019
SUBPART W
Rollover Protective Structure; Overhead Protection [1926.1000 – .1003]

## Slide 24: Stairways and Ladders [1926.1050 – .1060]
Chart: 
| 1051(a) | 1060(a) | 1053(b)(13) | 1053(b)(4) | 1053(b)(1)
 | 143 | 228 | 238 | 332 | 1616
Ladders – Using top step as a step
General – Stairway or ladder provided for break in elevation 19 inches
Ladders – 3 feet above landing surface
Ladders – Appropriate use
Training – Ladder & stairway hazard training
SUBPART X

## Slide 25: Toxic & Hazardous Substances [1926.1100 – .1152]
Chart: 
| 1153(i)(2)(i) | 1153(i)(1) | 1153(g)(1) | 1153(d)(2)(i) | 1153(c)(1)
 | 26 | 37 | 78 | 108 | 123
Respirable Crystalline Silica – Employees engaging in a task on Table 1
Respirable Crystalline Silica – Description of the task
Respirable Crystalline Silica – Employer shall assess exposure
Respirable Crystalline Silica – Hazardous Communication
Respirable Crystalline Silica – Employees covered by training
SUBPART Z

## Slide 26: Confined Space in Construction [1926.1200 – .1212]
Chart: 
| 1204(b) | 1203(e)(2)(iii) | 1203(d) | 1203(a) | 1207(a)
 | 6 | 6 | 6 | 9 | 12
Training – Employer must provide training
General Requirements – Written permit space program
General Requirements – Competent person identifies all confined spaces
Permit-Required Confined Space Program – Identify and evaluate hazards
SUBPART AA
General Requirements – Internal atmosphere testing prior to entering

## Slide 27: Cranes and Derricks in Construction [1926.1400 – .1442]
Chart: 
| 1403(a) | 1402(b) | 1412(f)(1) | 1428(a) | 1412(d)(1)
 | 4 | 4 | 5 | 7 | 7
Inspection – Inspection of equipment at least every 12 months
Assembly/Disassembly – Manufacturer procedures
Signal Person Qualification – Must meet qualification requirements
Ground Conditions – No assembling unless ground conditions are firm
Inspections – Visual inspection by competent person
SUBPART CC